## M3C-front
[7 empty] | M3C front | [9 empty] | .
| A |  |  |  | B |  |  |  | C |  |  |  | D
| Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment
Installation | R4 | PNB 125 | BB/AB | 2007-03-23 | R4 | PNB 115 | OM/KM | 8.2.07 | R4 | PNB 120 | OM/PE | 2007-02-27 | R4 | PNB 113 | OM/KM | 8.2.07
32 | SG (7s) | NB GGGG |  | KM/TS | KM (6s) | NB GYRG |  | KM/SE | SG (5s) | NB GRYG |  | KM/SE | KM (6s) | NB GYGG |  | KM/SE
| 24.04.07 | 2007-03-30 |  | 27.04.07 | 8.2.07 | 2007-03-30 |  | 03.05.07 | 24.4.07 | 2007-03-30 |  | 04.05.07 | 8.2.07 | 2.04.07 |  | 03.05.07
| R4 | PNB 072 | BB/AB | 2007-03-23 | R4 | PNB 117 | OM/KM | 8.2.07 | R4 | PNB 121 | OM/PE | 2007-02-27 | R4 | PNB 152 | OM/KM | 8.2.07
30 | SG (6s) | NB GYGG |  | KM/TS/SE | KM (4s) | NB GYGG |  | KM/SE | SG (6s) | NB GYGG |  | KM/SE | KM (6s) | NB GGGG |  | KM/SE
| 24.04.07 | 2007-03-30 |  | 04.05.07 | 8.2.07 | 19.04.07 |  | 03.05.07 | 24.4.07 | 12.04.07 |  | 04.05.07 | 8.2.07 | 12.04.07 |  | 03.05.07
| R4 | PNB 082 | BB/AB | 2007-03-23 | R4 | PNB 118 | OM/KM | 8.2.07 | R4 | PNB 091 | BB/AB | 2007-03-21 | R4 | PNB 153 | OM/KM | 8.2.07
28 | SG (6s) | GYGG |  | KM/TS/SE | KM (6s) | GGGG |  | KM/SE | SG (6s) | NB GRGG |  | KM/SE | KM (6s) | GGGG |  | KM/SE
| 24.04.07 | 18/04/2007 |  | 04.05.07 | 8.2.07 | 18.04.07 |  | 03.05.07 | 24.4.07 | 12.04.07 |  | 04.05.07 | 8.2.07 | 18/4/07 |  | 03.05.07
| R4 | PNB 080 | BB/AB | 2007-03-23 | R4 | PNB 119 | OM/KM | 8.2.07 | R4 | PNB 090 | BB/AB | 2007-03-21 | R4 | PNB 154 | OM/KM | 8.2.07
26 | SG (6s) | NB GRGG |  | KM/TS/SE | KM (6s) | NB GGGG |  | KM/SE | SG (6s) | NB GYGG |  | KM/SE | KM (6s) | GGGG |  | KM/SE
| 24.04.07 | 12.04.07 |  | 04.05.07 | 8.2.07 | 13.04.07 |  | 03.05.07 | 24.4.07 | 12.04.07 |  | 04.05.07 | 8.2.07 | 13/4/07 |  | 03.05.07
| R3 | LNF 15 | OM/KM | 2007-02-28 | R3 | LNF 035 | OM/NB | 2007-02-19 | R4 | PNB 083 | BB/AB | 2007-03-21 | R4 | PNB 188 | OM/NB | 2007-02-19
24 | OM (5s) | CF/DP/RN |  | KM/TS/SE | OM (7s) | AS |  | KM/SE | SG (7s) | GRGG |  | KM/SE | OM (19s) | GGGG |  | KM/SE
| 02.03.07 | 2007-05-04 |  | 04.05.07 | 2007-02-27 | 2007-05-04 |  | 03.05.07 | 24.4.07 | 18.04.07 |  | 04.05.07 | 2007-02-20 | 19/4/07 |  | 03.05.07
| R3 | LNF 14 | OM/KM | 2007-02-28 | R3 | LNF 041 | OM/NB | 2007-02-19 | R4 | PNB 084 | BB/AB | 2007-03-21 | R4 | PNB 196 | OM/NB | 2007-02-19
22 | OM (6s) | CF |  | KM/TS/SE | OM (8s) | AS/DP/RN |  | KM/SE | SG (5s) | GRGG |  | KM/SE | OM (19s) | GGGG |  | KM/SE
| 2007-03-02 | 2007-03-19 |  | 04.05.07 | 2007-02-27 | 2007-05-04 |  | 03.05.07 | 24.4.07 | 18/4/07 |  | 04.05.07 | 2007-02-20 | 18/4/07 |  | 03.05.07
[5 empty] | R3 | LNF 054 | OM/NB | 2007-02-19 | R4 | PNB 097 | BB/AB | 2007-03-21 | R4 | PNB 185 | OM/NB | 2007-02-19
20 |  |  |  |  | OM (7s) | CF |  | KM/SE | SG (5s) | GYYG |  | KM/SE | OM (18s) | NB GRGY |  | KM/SE
[5 empty] | 2007-02-27 | 2007-03-21 |  | 03.05.07 | 24.4.07 | 19/4/07 |  | 04.05.07 | 2007-02-20 | 15.03.07 |  | 03.05.07
[5 empty] | R3 | LNF 057 | OM/PE | 2007-02-27 | R4 | PNB 092 | BB/AB | 2007-03-22 | R4 | PNB 183 | OM/NB | 2007-02-19
18 |  |  |  |  | OM (7s) | DP/RN |  | KM/SE | SG (5s) | GRGG |  | KM/SE | OM (18s) | NB GYGG |  | KM/SE
[5 empty] | 2007-02-27 | 2007-05-04 |  | 03.05.07 | 24.4.07 | 18/4/07 |  | 04.05.07 | 2007-02-20 | 15.03.07 |  | 03.05.07
See sheet for inner part
[5 empty] | R3 | LNF 028 | OM/PE | 2007-02-27 | R4 | PNB 096 | BB/AB | 2007-03-22 | R4 | PNB 182 | OM/NB | 2007-02-19
16 |  |  |  |  | OM (7s) | DP/RN |  | KM/SE | SG (5s) | GGYG |  | KM/SE | OM (16s) | GGGG |  | KM/SE
[5 empty] | 2007-02-27 | 2007-06-04 |  | 03.05.07 | 24.4.07 | 17/04/07 |  | 04.05.07 | 2007-02-20 | 19.04.07 |  | 03.05.07
[5 empty] | R3 | LNF 019 | OM/PE | 2007-02-27 | R4 | PNB 089 | BB/AB | 2007-03-22 | R4 | PNB 186 | OM/NB | 2007-02-19
14 |  |  |  |  | OM (7s) | CF+GP |  | KM/SE | SG (5s) | GYGG |  | KM/SE | OM (15s) | GGGG |  | KM/SE
[5 empty] | 2007-02-27 | GRGY 18/4 |  | 03.05.07 | 24.4.07 | 19.04.07 |  | 04.05.07 | 2007-02-20 | 19.04.07 |  | 03.05.07
| R3 | LNF 10 | OM/KM | 2007-02-28 | R3 | LNF 023 | OM/PE | 2007-02-27 | R4 | PNB 095 | BB/AB | 2007-03-22 | R4 | PNB 180 | OM/NB | 2007-02-19
12 | SG (5s) | CF+GP |  | KM/TS/SE | OM (7s) | DP/RN |  | KM/SE | SG (6s) | 2007-04-04 |  | KM/SE | OM (16s) | GRGG |  | KM/SE
| 24.04.07 | GRGG 18/4 |  | 04.05.07 | 2007-02-27 | 2007-06-04 |  | 03.05.07 | 24.4.07 | GYGG |  | 04.05.07 | 2007-02-20 | 21.04.07 |  | 03.05.07
| R3 | LNF 51 | KM/EL | 9.3.07 | R3 | LNF 005 | OM/PE | 2007-02-27 | R4 | PNB 100 | BB/AB | 2007-03-22 | R4 | PNB 181 | OM/NB | 2007-02-19
10 | SG (6s) | GP/WB |  | KM/TS/SE | OM (7s) | GP/WB |  | KM/SE | SG (6s) | 2007-04-04 |  | KM/SE | OM (16s) | GGGG |  | KM/SE
| 24.04.07 | 19/4/2007 |  | 04.05.07 | 2007-02-27 | 19/4/2007 |  | 03.05.07 | 24.4.07 | GYGG |  | 04.05.07 | 2007-02-20 | 21.04.07 |  | 03.05.07
| R4 | PNB 088 | BB/AB | 2007-03-22 | R4 | PNB 122 | OM/PE | 2007-02-27 | R4 | PNB 069 | BB/AB | 2007-03-22 | R4 | PNB 104 | OM/NB | 2007-02-19
8 | SG (6s) | GGGG |  | KM/TS/SE | OM (7s) | GGGG |  | KM/SE | SG (5s) | GYGG |  | KM/SE | OM (6s) | GGGG |  | KM/SE
| 24.04.07 | 24.04.07 |  | 04.05.07 | 2007-02-27 | 24.04.07 |  | 03.05.07 | 24.4.07 | 24.04.07 |  | 04.05.07 | 2007-02-28 | 21.04.07 |  | 03.05.07
| R4 | PNB 094 | BB/AB | 2007-03-22 | R4 | PNB 123 | OM/PE | 2007-02-27 | R4 | PNB 071 | BB/AB | 2007-03-22 | R4 | PNB 149 | OM/NB | 2007-02-19
6 | SG (6s) | GYGG |  | KM/TS/SE | OM (7s) | GGGG |  | KM/SE | SG (5s) | GYGG |  | KM/SE | OM (5s) | GGGG |  | KM/SE
| 24.04.07 | 24.04.07 |  | 04.05.07 | 2007-02-27 | 24.04.07 |  | 03.05.07 | 24.4.07 | 24.04.07 |  | 04.05.07 | 2007-02-28 | 24.04.07 |  | 03.05.07
| R4 | PNB 079 | BB/AB | 2007-03-23 | R4 | PNB 124 | OM/PE | 2007-02-27 | R4 | PNB 068 | BB/AB | 2007-03-22 | R4 | PNB 170 | OM/NB | 2007-02-19
4 | SG (6s) | GYGG |  | KM/TS/SE | OM (8s) | GYGG |  | KM/SE | SG (5s) | GYGG |  | KM/SE | OM (5s) | GYGG |  | KM/SE
| 24.04.07 | 20.04.07 |  | 04.05.07 | 2007-02-27 | 20.04.07 |  | 03.05.07 | 24.4.07 | 23.04.07 |  | 04.05.07 | 2007-02-28 | 20.04.07 |  | 03.05.07
| R4 | PNB 093 | BB/AB | 2007-03-23 | R4 | PNB 129 | OM/PE | 2007-02-27 | R4 | PNB 070 | BB/AB | 2007-03-22 | R4 | PNB 005 | OM/NB | 2007-02-19
2 | SG (6s) | GRGG |  | KM/TS/SE | OM (8s) | GGGG |  | KM/SE | SG (5s) | GRGG |  | KM/SE | OM (5s) | GRGG |  | KM/SE
| 24.04.07 | 24.04.07 |  | 04.05.07 | 2007-02-27 | 24.04.07 |  | 03.05.07 | 24.4.07 | 24.04.07 |  | 04.05.07 | 2007-02-28 | 24.04.07 |  | 03.05.07
Note on C14: Administrator: Injection test failed 18/04/07 Signal cables replased with 28B(PNB118) IBODE17 21,20,19 WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on C18: Administrator: ERROR: iFEB:0 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:1 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:2 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!
Note on C58: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on C62: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct
Note on C66: testuser: ERROR: NodeID:56 I2C:2 FEB:1 CH:15 possible Bad Connectivity channel Channel has presented much less noise than expected ERROR: NodeID:56 I2C:2 FEB:2 CH:8 possible Bad Connectivity channel Channel has presented much less noise than expected ERROR: NodeID:56 I2C:2 FEB:2 CH:14 possible Bad Connectivity channel Channel has presented much less noise than expected WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on H10: Administrator: 19.04.07 Fixed control cable (service board side WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct
Note on H14: Administrator: 18/04/07 Signal cables replased with 28A(PNB082) IBODE17 24,23,22
Note on H54: testuser: WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on H58: testuser: WARNING: NodeID:56 I2C:2 FEB:0 CH:01 Estimated capacitance = 258 Cexp +- sigma = 193 +- 19 Channel estimated capacitance is out of range Estimated capacitance is higher than expected CHECK if we have straight line shape: Use Noise Fit details case 1: distortion at high Rate Noise ---> probably short-circuit case 2: distortion at Low Rate Noise ---> Noisy injected by bad ground, cable ... ERROR: NodeID:56 I2C:2 FEB:0 CH:01 Threshold(fC): 14.0 (Resbias(fC) = 5.3) Noise Rate(Hz): 176722 ERROR: NodeID:56 I2C:2 FEB:0 CH:03 Threshold(fC): 14.0 (Resbias(fC) = 5.3) Noise Rate(Hz): 129641 ERROR: NodeID:56 I2C:2 FEB:0 CH:05 Threshold(fC): 14.0 (Resbias(fC) = 5.3) Noise Rate(Hz): 18601 ERROR: NodeID:56 I2C:2 FEB:0 CH:06 Threshold(fC): 14.0 (Resbias(fC) = 5.3) Noise Rate(Hz): 1041 ERROR: NodeID:56 I2C:2 FEB:0 CH:07 Threshold(fC): 14.0 (Resbias(fC) = 5.3) Noise Rate(Hz): 67616 ERROR: NodeID:56 I2C:2 FEB:0 CH:09 Threshold(fC): 14.0 (Resbias(fC) = 5.3) Noise Rate(Hz): 23903 ERROR: NodeID:56 I2C:2 FEB:0 CH:10 Threshold(fC): 14.0 (Resbias(fC) = 5.3) Noise Rate(Hz): 1741 ERROR: NodeID:56 I2C:2 FEB:0 CH:11 Threshold(fC): 14.0 (Resbias(fC) = 5.3) Noise Rate(Hz): 20466 ERROR: NodeID:56 I2C:2 FEB:0 CH:13 Threshold(fC): 14.0 (Resbias(fC) = 5.3) Noise Rate(Hz): 9114
Note on H62: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct
Note on M10: Administrator: WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct
Note on M14: Administrator: ERROR: iFEB:0 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:1 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:2 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!
Note on M18: Administrator: WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct
Note on M22: Administrator: ERROR: iFEB:0 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:1 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:2 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!
Note on M26: Administrator: ERROR: iFEB:0 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:1 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:2 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!
Note on M30: Administrator: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct WARNING: NodeID:17 I2C:1 FEB:2 CH:07 Estimated capacitance = 146 Cexp +- sigma = 188 +- 12 Channel estimated capacitance is out of range Estimated capacitance is lower than expected
Note on M34: Administrator: ERROR: iFEB:0 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:1 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:2 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!
Note on M38: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on M42: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on M46: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct iFEB:0 @12fC Ch: 01 Th(reg): 102 Rate: 675 Ch: 02 Th(reg): 102 Rate: 39 Ch: 03 Th(reg): 104 Rate: 765
Note on M50: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on M54: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct Reparation of bend pin on IB19 slot (4th channel (FEB0))
Note on M58: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on M62: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on M66: testuser: ERROR: NodeID:57 I2C:0 FEB:0 CH:3 no ground pin on EC cable possible Bad Connectivity channel Channel has presented much less noise than expected WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct
Note on R46: testuser: ERROR: iFEB:2 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!
Note on R62: testuser: WARNING: iFEB:0 -> WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct WARNING: iFEB:1 -> Barcode not found in database please confirm if barcode is correct
Note on R66: testuser: ERROR: NodeID:56 I2C:2 FEB:0 CH:3 possible Bad Connectivity channel Channel has presented much less noise than expected ERROR: iFEB:0 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!

## M3C-back
M3C back
| D |  |  |  | C |  |  |  | B |  |  |  | A
| Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment
Installation | R4 | PNB 144 | OM/KM | 5.2.07 | R4 | PNB 133 | OM/NB | 26.2.07 | R4 | PNB 148 | OM/KM | 5.2.07 | R4 | PNB 046 | OM/PE/EL | 2007-03-02
31 | KM (6s) | NB |  | KM/OM | OM (6s) | NB |  | KM/OM | KM (7s) | NB |  | KM/OM | OM (7s) | NB |  | KM/OM
| 8.2.07 | 2007-03-21 |  | 11.04.07 | 2007-02-28 | 2007-03-22 |  | 11.04.07 | 8.2.07 | 2007-03-22 |  | 11.04.07 | 2007-03-02 | 2007-03-22 |  | 12.04.07
| R4 | PNB 145 | OM/KM | 5.2.07 | R4 | PNB 134 | OM/NB | 26.2.07 | R4 | PNB 147 | OM/KM | 5.2.07 | R4 | PNB 049 | OM/PE/EL | 2007-03-02
29 | KM (6s) | NB |  | KM/OM | OM (6s) | NB |  | KM/OM | KM (6s) | NB |  | KM/OM | OM (7s) | NB |  | KM/OM
| 8.2.07 | 15.03.07 |  | 11.04.07 | 2007-02-28 | 15.03.07 |  | 11.04.07 | 8.2.07 | 2007-03-27 |  | 11.04.07 | 2007-03-02 | 2007-03-30 |  | 12.04.07
| R4 | PNB 155 | OM/KM | 8.2.07 | R4 | PNB 197 | OM/NB | 26.2.07 | R4 | PNB 150 | OM/KM | 8.2.07 | R4 | PNB 050 | OM/PE/EL | 2007-03-02
27 | KM (6s) | NB |  | KM/OM | OM (7s) | GGGG |  | KM/OM | KM (7s) | NB |  | KM/OM | OM (7s) | NB |  | KM/OM
| 8.2.07 | 2007-03-21 |  | 11.04.07 | 2007-02-28 | 2007-03-20 |  | 11.04.07 | 8.2.07 | 2007-03-28 |  | 11.04.07 | 2007-03-02 | 15.03.07 |  | 12.04.07
| R4 | PNB 108 | OM/KM | 8.2.07 | R4 | PNB 194 | OM/NB | 26.2.07 | R4 | PNB 151 | OM/KM | 8.2.07 | R4 | PNB 055 | OM/PE/EL | 2007-03-02
25 | KM (6s) | NB |  | KM/OM | OM (6s) | NB |  | KM/OM | KM (7s) | NB |  | KM/OM | OM (7s) | NB |  | KM/OM
| 8.2.07 | 2007-03-21 |  | 11.04.07 | 2007-02-28 | 2007-03-21 |  | 11.04.07 | 8.2.07 | 15.03.07 |  | 11.04.07 | 2007-03-02 | 15.03.07 |  | 12.04.07
| R4 | PNB 110 | OM/KM | 8.2.07 | R4 | PNB 135 | OM/PE | 2007-03-02 | R3 | LNF 29 | OM/KM | 8.2.07 | R3 | LNF 030 | OM/PE/EL | 2007-03-02
23 | OM (28s) | NB |  | KM/OM | OM (8s) | NB |  | KM/OM | OM (5s) | CF/DP/RN |  | KM/OM | OM (6s) | CF GYYG |  | KM/OM
| 2007-02-20 | 2007-03-20 |  | 11.04.07 | 2007-03-02 | 2007-03-20 |  | 11.04.07 | 2007-02-28 | 2007-03-04 |  | 11.04.07 | 2007-03-02 | 20/3/2007 |  | 12.04.07
| R4 | PNB 114 | OM/KM | 8.2.07 | R4 | PNB 140 | OM/PE | 2007-03-02 | R3 | LNF 33 | OM/KM | 8.2.07 | R3 | LNF 052 | OM/PE/EL | 2007-03-02
21 | OM (26s) | NB |  | KM/OM | OM (6s) | NB |  | KM/OM | OM (5s) | CF GYGG |  | KM/OM | OM (6s) | CF GYGG |  | KM/OM
| 2007-02-20 | 2007-03-20 |  | 11.04.07 | 2007-03-02 | 16.03.07 |  | 11.04.07 | 2007-02-28 | 20/3/2007 |  | 11.04.07 | 2007-03-02 | 20/3/2007 |  | 12.04.07
| R4 | PNB 112 | OM/NB | 2007-02-19 | R4 | PNB 141 | OM/PE | 2007-03-02 | R3 | LNF 18 | OM/NB | 26.2.07
19 | OM (26s) | NB |  | KM/OM | OM (7s) | NB |  | KM/OM | OM (5s) | CF |  | KM/OM
| 2007-02-20 | 2007-03-15 |  | 11.04.07 | 2007-03-02 | 16.03.07 |  | 11.04.07 | 2007-02-28 | 2007-03-04 |  | 11.04.07
| R4 | PNB 107 | OM/NB | 2007-02-19 | R4 | PNB 142 | OM/PE | 2007-03-02 | R3 | LNF 6 | OM/NB | 26.2.07
17 | OM (26s) | NB |  | KM/OM | OM (6s) | NB |  | KM/OM | OM (5s) | CF |  | KM/OM
| 2007-02-20 | 16.03.07 |  | 11.04.07 | 2007-03-02 | 16.03.07 |  | 11.04.07 | 2007-02-28 | 2007-03-27 |  | 11.04.07
See sheet for inner part
| R4 | PNB 189 | OM/NB | 2007-02-19 | R4 | PNB 143 | OM/PE | 2007-03-02 | R3 | LNF 42 | OM/PE | 26.2.07
15 | OM (18s) | NB GGGG |  | KM/OM | OM (6s) | NB GRGG |  | KM/OM | OM (5s) | AS |  | KM/OM
| 2007-02-20 | 2007-04-13 |  | 11.04.07 | 2007-03-02 | 2007-04-13 |  | 11.04.07 | 2007-02-28 | 28/3/2007 |  | 11.04.07
| R4 | PNB 190 | OM/NB | 2007-02-19 | R4 | PNB 136 | OM/PE | 2007-03-02 | R3 | LNF 34 | OM/PE | 26.2.07
13 | OM (18s) | NB GGGG |  | KM/OM | OM (6s) | NG GRGG |  | KM/OM | OM (5s) | AS/CF |  | KM/OM
| 2007-02-20 | 2007-04-16 |  | 11.04.07 | 2007-03-02 | 2007-04-13 |  | 11.04.07 | 2007-02-28 | 29.3.07 |  | 11.04.07
| R4 | PNB 191 | OM/NB | 2007-02-19 | R4 | PNB 137 | OM/PE | 2007-03-02 | R3 | LNF 39 | OM/KM | 26.2.07 | R3 | LNF 022 | OM/PE/EL | 2007-03-02
11 | OM (18s) | GGGG |  | KM/OM | OM (6s) | GYGG |  | KM/OM | OM (5s) | AS |  | KM/OM | OM (7s) | AS |  | KM/OM
| 2007-02-20 | 2007-04-16 |  | 11.04.07 | 2007-03-02 | 2007-04-04 |  | 11.04.07 | 2007-02-28 | 29.3.07 |  | 11.04.07 | 2007-03-02 | 30.3.07 |  | 12.04.07
| R4 | PNB 192 | OM/NB | 2007-02-19 | R4 | PNB 138 | OM/PE | 2007-03-02 | R3 | LNF 45 | OM/KM | 26.2.07 | R3 | LNF 016 | OM/PE/EL | 2007-03-02
9 | OM (19s) | GGGG |  | KM/OM | OM (6s) | GRGG |  | KM/OM | OM (5s) | AS |  | KM/OM | OM (7s) | AS |  | KM/OM
| 2007-02-20 | 2007-04-03 |  | 11.04.07 | 2007-03-02 | 2007-04-04 |  | 11.04.07 | 2007-02-28 | 30.3.07 |  | 11.04.07 | 2007-03-02 | 29.3.07 |  | 12.04.07
| R4 | PNB 195 | OM/NB | 26.2.07 | R4 | PNB 139 | OM/PE | 2007-03-02 | R4 | PNB 200 | OM/NB | 26.2.07 | R4 | PNB 053 | OM/PE/EL | 2007-03-02
7 | OM (5s) | GGGG |  | KM/OM | OM (6s) | GRGG |  | KM/OM | OM (5s) | GGGG |  | KM/OM | OM (5s) | GGYG |  | KM/OM
| 2007-02-28 | 16.3.07 |  | 11.04.07 | 2007-03-02 | 2007-04-03 |  | 11.04.07 | 2007-02-28 | 2007-04-04 |  | 11.04.07 | 2007-04-02 | 2007-04-04 |  | 12.04.07
| R4 | PNB 193 | OM/NB | 26.2.07 | R4 | PNB 130 | OM/PE | 2007-03-02 | R4 | PNB 128 | OM/NB | 26.2.07 | R4 | PNB 054 | OM/PE/EL | 2007-03-02
5 | OM (5s) | GGGG |  | KM/OM | OM (6s) | GGGG |  | KM/OM | OM (5s) | GGGG |  | KM/OM | OM (5s) | GGGG |  | KM/OM
| 2007-02-28 | 2007-04-03 |  | 11.04.07 | 2007-03-02 | 2007-04-05 |  | 11.04.07 | 2007-02-28 | 2007-04-04 |  | 11.04.07 | 2007-04-02 | 2007-04-04 |  | 12.04.07
| R4 | PNB 198 | OM/NB | 26.2.07 | R4 | PNB 131 | OM/PE | 2007-03-02 | R4 | PNB 127 | OM/NB | 26.2.07 | R4 | PNB 085 | OM/PE/EL | 23/3/2007
3 | OM (5s) | GGGG |  | KM/OM | OM (6s) | GGGG |  | KM/OM | OM (5s) | GGGG |  | KM/OM | OM (5s) | GRGG |  | KM/OM
| 2007-02-28 | 2007-04-03 |  | 11.04.07 | 2007-03-02 | 2007-04-03 |  | 11.04.07 | 2007-02-28 | 2007-04-03 |  | 11.04.07 | 2007-04-02 | 2007-04-03 |  | 12.04.07
| R4 | PNB 199 | OM/NB | 26.2.07 | R4 | PNB 132 | OM/PE | 2007-03-02 | R4 | PNB 126 | OM/NB | 26.2.07 | R4 | PNB 086 | OM/PE/EL | 23/3/2007
1 | OM (5s) | GGGG |  | KM/OM | OM (6s) | GYYG |  | KM/OM | OM (5s) | GGGG |  | KM/OM | OM (5s) | GYYG |  | KM/OM
| 2007-02-28 | 2007-04-03 |  | 11.04.07 | 2007-03-02 | 2007-04-03 |  | 11.04.07 | 2007-02-28 | 27/3/07 |  | 11.04.07 | 2007-04-02 | 2007-03-27 |  | 12.04.07
Note on C38: testuser: FEB01 CH07: counters-> DIALOG=500 ACQ=0 FEB01 CH08: counters-> DIALOG=500 ACQ=0 Wire shorted to ground at the TB. M3C-DOWN-IBODE-19 - IB board has shorted wire at connector 8 ch 4 at the databus connector. IB board should be replaced! 13.04. IB board replaced.
Note on C42: testuser: Noisy FE 0 --- 16/04/07 : fixed with proper grounding of wall
Note on C46: testuser: Huge nioise in FE 0 10.Apr. changed feb Old: 4UE20900111089 new: 4UE20900112159 no positive results? If ground taile disconnected on the sevice bord side, noise going douwn to acseptable value. 16.04.07 The wall ground connection improved. Noise is good.
Note on C54: testuser: WARNING: NodeID:25 I2C:0 FEB:0 CH:03 Threshold(fC): 12.0 (Resbias = 5.3) Noise Rate(Hz): 1384 16.04.07 Signal cable ground connected to the wall. Problem fixed.
Note on C55: testuser: first test 3 Apr 07 Second test 16 Apr 07
Note on C58: ERROR: NodeID:24 I2C:2 FEB:0 CH:8 possible Bad Connectivity channel Channel has presented much less noise than expected ERROR: iFEB:0 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! 16.04.07 If the ground wire of the control cable disconnected, the noise is good
Note on H38: testuser: ERROR: NodeID:25 I2C:0 FEB:1 CH:2 possible Bad Connectivity channel Channel has presented much less noise than expected
Note on H42: testuser: Large noise at FE02. ERROR: iFEB:0 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!
Note on H46: testuser: WARNING: iFEB:0 -> Barcode not found in database please confirm if barcode is correct
Note on H50: testuser: ERROR: iFEB:0 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ERROR: iFEB:1 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!
Note on H54: testuser: ERROR: Database Offset does not match with Threshold Scan Offset
Note on H66: testuser: Y1 -WARNING: iFEB:2 -> Barcode not found in database please confirm if barcode is correct Y2-WARNING: NodeID:25 I2C:0 FEB:0 CH:01 Estimated capacitance = 234 Cexp +- sigma = 186 +- 14 Channel estimated capacitance is out of range Estimated capacitance is higher than expected CHECK if we have straight line shape: Use Noise Fit details case 1: distortion at high Rate Noise ---> probably short-circuit case 2: distortion at Low Rate Noise ---> Noisy injected by bad ground, cable ...
Note on M66: testuser: Max noise <300Hz @ 12fC
Note on R54: testuser: ----- Noise Analysis Diagnostics ----------------------------------------------------- WARNING: NodeID:25 I2C:1 FEB:2 CH:09 Estimated capacitance = 139 Cexp +- sigma = 179 +- 13 Channel estimated capacitance is out of range Estimated capacitance is lower than expected
Note on R62: testuser: ERROR: NodeID:25 I2C:2 FEB:0 CH:9 possible Bad Connectivity channel Channel has presented much less noise than expected ERROR: NodeID:25 I2C:2 FEB:1 CH:3 possible Bad Connectivity channel Channel has presented much less noise than expected ERROR: NodeID:25 I2C:2 FEB:2 CH:1 possible Bad Connectivity channel Channel has presented much less noise than expected ERROR: iFEB:1 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE!

## M3C-IP-front
M3C inner part front
| A1 |  |  |  | A2 |  |  |  | A3
| Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment
Installation | R2 | CER 09 | TS/KM/OM | 27.2.07 |  |  |  |  | R2 | CER 3 | KM/OM | 28.2.07
20 | OM (8s) | KM/BS/NB |  | KM/TS |  |  |  |  | OM (6s) | KM/BS/NB |  | KM
| 2007-02-27 | 19.04.07 |  | 27.04.07 |  |  |  |  | 2007-03-02 | 19.04.07 |  | 27.04.07
| R1 | CER 11 | TS/KM | 21.2.07 | R1 | CER 7 | TS/KM | 21.2.07 | R2 | CER 4 | KM/OM | 28.2.07
18 | KM (16s) | KM/BS |  | KM/TS | KM (17s) | KM/BS |  | KM | OM (6s) | BS |  | KM
| 21.2.07 | 25.04.07 |  | 27.04.07 | 21.2.07 | 24.4.07 |  | 27.04.07 | 2007-03-02 | 24.04.07 |  | 27.04.07
[5 empty] | R1 | CER 8 | TS/KM | 21.2.07 | R2 | CER 1 | KM/OM | 28.2.07
16 |  | beam pipe hole |  |  | KM (26s) | KM |  | KM | SG (5s) | KM |  | KM
[5 empty] | 21.2.07 | 24.4.07 |  | 27.04.07 | 24.4.07 | 24.4.07 |  | 27.04.07
| R2 | CER 08 | TS/KM/OM | 27.2.07 |  |  |  |  | R2 | CER 2 | KM/OM | 28.2.07
14 | OM (8s) | BS |  | KM/TS |  |  |  |  | SG (5s) | BS |  | KM
| 2007-02-27 | 20.4.07 |  | 27.04.07 |  |  |  |  | 24.4.07 | 20.4.07 |  | 27.04.07
Note on C6: !!! LV channels 10-13 (instead of 11-14 as noted in paper) + anodes: GYRG warning: barcode not found in DB: FEB 0,1,2,4,5 error: FEB 13 ch 15 (SG10): estimated cap. = 106; Cexp +/- Sigma = 57 +/-10 -> check raw noise: distribution is a bit broader, but O.K. noise: 7 fC -> 0 6 fC -> 0 on all but FEB13: 10 Hz 5 fC -> 10 Hz on all but FEB13: 80 Hz + cathodes: GYGG noise: 5 fC -> 3000 Hz 6 fC -> 10 Hz 7 fC -> 0
Note on C10: Summary of tests on 15.05: Combined Anode/Cathode with two rev. TBs: GYRY Noise below 1kHz on all channels, andoes have very low noise. Summary of tests on 25.04 Cathodes 1-4: GYYG ok with int and ext counters for th_scan Cathodes 5-8: GYYG ok with int and ext counters for th_scan Anodes 9-14: GRRR Basically ok, but some errors due to too low capcitance noise ok at 6fC threshold.
Note on C11: Old tests: Cathodes: FEB 4: all dead FEB5: ch 3, 4, dead Anodes SG14 ch15,16: bell-shaped distribution -> saved plot: M3R1_11_anodes_noise_FEB13.gif RESBIAS = 3.6 fC (40mV) ERROR for Noise>1KHz @ 14 fC ----- Noise Analysis Diagnostics ----------------------------------------------------- ERROR: NodeID:16 I2C:0 FEB:13 CH:15 Estimated capacitance = 123 Cexp +- sigma = 44 +- 13 Channel estimated capacitance is out of range Estimated capacitance is higher than expected CHECK if we have straight line shape: Use Noise Fit details case 1: distortion at high Rate Noise ---> probably short-circuit case 2: distortion at Low Rate Noise ---> Noisy injected by bad ground, cable ... ERROR: NodeID:16 I2C:0 FEB:13 CH:16 Estimated capacitance = 111 Cexp +- sigma = 44 +- 13 Channel estimated capacitance is out of range Estimated capacitance is higher than expected CHECK if we have straight line shape: Use Noise Fit details case 1: distortion at high Rate Noise ---> probably short-circuit case 2: distortion at Low Rate Noise ---> Noisy injected by bad ground, cable ... Cathodes 1-4: O.K. Cathodes 5-8: BAD :FEB04 dead, FEB05, ch 3,4 (24.4.07) chamber retested in B156: all OK chamber back in the pit: Cathodes 5-8: BAD: FEB04 OK, but FEB 05 dead (25.4.07)
Note on H10: Cathodes 1-4: GYYG Some barcodes not found, Est. Cap higher than expected Cap. (no ch. Specified, very strange!) -> noise <avg> @ 6fC ~12Hz, only 1ch ~200Hz Anodes: GYRG ----------------------------------------------------- ----- Noise Analysis Diagnostics ----------------------------------------------------- ERROR: NodeID:16 I2C:0 FEB:8 CH:13 Estimated capacitance = 0 Cexp +- sigma = 39 +- 9 -> is ok ERROR: NodeID:16 I2C:0 FEB:13 CH:15 Estimated capacitance = 74 Cexp +- sigma = 39 +- 9 Channel estimated capacitance is out of range Estimated capacitance is higher than expected CHECK if we have straight line shape: Use Noise Fit details case 1: distortion at high Rate Noise ---> probably short-circuit case 2: distortion at Low Rate Noise ---> Noisy injected by bad ground, cable ... -> Fit details look ok -> Anodes are ok, <avg> noise @ 6fC 25Hz, all ch <1kHz Injection Test for 2nd part of Anodes: ok (green) Cathodes 5-8: GYYG Barcodes not found in database ----------------------------------------------------- ----- Noise Analysis Diagnostics ----------------------------------------------------- WARNING: High Capacitance Average respect to ExpCap Expected capacitance = 58 Cexp +- sigma = 83 +- 9
Note on H14: Cathodes 1-4: GYYG ----------------------------------------------------- WARNINGS:Barcodes not found in database ----------------------------------------------------- ----- Noise Analysis Diagnostics ----------------------------------------------------- WARNING: High Capacitance Average respect to ExpCap Expected capacitance = 58 Cexp +- sigma = 79 +- 8 Cathodes 5-8:GYYG ----------------------------------------------------- WARNINGS: Barcodes not found in database ----------------------------------------------------- ----- Noise Analysis Diagnostics ----------------------------------------------------- WARNING: High Capacitance Average respect to ExpCap Expected capacitance = 58 Cexp +- sigma = 85 +- 12 Anodes 9-11:GRRG ----------------------------------------------------- ----- Offset Analysis Diagnostics ----------------------------------------------------- ERROR: NodeID:56 I2C:0 FEB:8 CH:16 possible Bad Connectivity channel Channel has presented much less noise than expected ERROR: NodeID:56 I2C:0 FEB:9 CH:12 possible Bad Connectivity channel Channel has presented much less noise than expected ERROR: NodeID:56 I2C:0 FEB:10 CH:9 possible Bad Connectivity channel Channel has presented much less noise than expected ----------------------------------------------------- ----- Noise Analysis Diagnostics ----------------------------------------------------- ERROR: NodeID:56 I2C:0 FEB:8,9,10 Estimated capacitance = 0 Cexp +- sigma = 55 +- 31 Open Channel Anodes 12-14:GGRG ----------------------------------------------------- ----- Noise Analysis Diagnostics ----------------------------------------------------- WARNING: NodeID:56 I2C:0 FEB:9 CH:14 Estimated capacitance = 189 Cexp +- sigma = 66 +- 37 Channel estimated capacitance is out of range Estimated capacitance is higher than expected CHECK if we have straight line shape: Use Noise Fit details case 1: distortion at high Rate Noise ---> probably short-circuit case 2: distortion at Low Rate Noise ---> Noisy injected by bad ground, cable ... ERROR: NodeID:56 I2C:0 FEB:12 CH:13 Estimated capacitance = 0 Cexp +- sigma = 66 +- 37 Open Channel ERROR: NodeID:56 I2C:0 FEB:13 CH:01 Estimated capacitance = 0 Cexp +- sigma = 66 +- 37 Open Channel
Note on M6: !!! LV channels 14-17 (instead of 15-18 as noted in paper) + cathodes: GYYG noise: 6 fC -> ~1000 Hz 7 fC -> 50 Hz (FEB 0-3); 100 Hz (FEB 4-7) 8 fC -> 10 Hz + anodes: GGYG warning: FEB 11 ch 6: estimated cap. = 27; Cexp +/- Sigma = 55 +/-9 noise: 6 fC -> 0 5 fC -> 10 Hz (FEB 0-2); 10^6 Hz (FEB 3-5) -> oszillations
Note on M10: Second test on 24.04.2007 Cathodes: GRYY ----------------------------------------------------- ----- Offset Analysis Diagnostics ----------------------------------------------------- ERROR: iFEB:2 -> Database Offset does not match with Threshold Scan Offset CHECK BARCODE! ----------------------------------------------------- ----- Noise Analysis Diagnostics ----------------------------------------------------- WARNING: High Capacitance Average respect to ExpCap Expected capacitance = 68 Cexp +- sigma = 93 +- 11 WARNING: NodeID:16 I2C:0 FEB:2 CH:01 Estimated capacitance = 57 Cexp +- sigma = 93 +- 11 Channel estimated capacitance is out of range Estimated capacitance is lower than expected ----------------------------------------------------- ----- Charge Analysis Diagnostics ----------------------------------------------------- WARNING: NodeID:16 I2C:0 FEB:0 CH:10 Threshold(fC): 7.0 (Resbias = 3.4) Noise Rate(Hz): 3050 -> noise @ 8fC on FEB:0 CH:10 300Hz -> Cathodes ok Anodes: GGGG -> very low noise even at 6fC ( <avg> ~2Hz)
Note on M11: Old tests: + anodes: GGGG 1st test (obsolete now) noise: 4 fC -> ~ 10^5 Hz 5 fC -> ~ 100 Hz 6 fC -> 0 + cathodes: GRRY error: FEB02, ch 2,4,6,8,10,12,14: no noise found (dead) !!! found same channels quiet in the C-Test !!!

## M3C-IP-back
M3C inner part back
| A3 |  |  |  | A2 |  |  |  | A1
| Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment | Gas | Cables/ Noise | Top fix. / Grounding | Alignment
Installation | R2 | CER 12 | KM/OM | 28.2.07 |  |  |  |  | R2 | CER 05 | TS/KM | 7.2.07
19 | OM (8s) | AS |  | KM |  |  |  |  | KM (15s) | AS/BS |  | KM/TS
| 2007-03-02 | 11.04.07 |  | 05.04.07 |  |  |  |  | 26.2.2007 | 11.04.07 |  | 04.04.07
| R2 | CER 10 | KM/OM | 28.2.07 | R1 | CER 16 | OM/KM/NB | 26.2.07
17 | OM (8s) | AS |  | KM | KM (17s) | BS/KM |  | KM/TS |  | beam pipe hole
| 2007-03-02 | 11.04.07 |  | 05.04.07 | 26.2.2007 | 04.04.07 |  | 04.04.07
| R2 | CER 07 | KM/OM/PE | 2007-03-01 | R1 | CER 05 | OM/KM/NB | 26.2.07 | R1 | CER 09 | OM/NB | 2007-03-01
15 | OM (7s) | AS |  | KM | KM (16s) | AS/BS |  | KM | OM (6s) | AS/BS |  | KM/TS
| 2007-03-02 | 12.04.07 |  | 10.04.07 | 26.2.2007 | 12.04.07 |  | 05.04.07 | 2007-03-02 | 12.04.07 |  | 04.04.07
| R2 | CER 13 | KM/OM | 28.2.07 |  |  |  |  | R2 | CER 06 | TS/KM | 7.2.07
13 | OM (6s) | AS |  | KM |  |  |  |  | KM (15s) | AS |  | KM/TS
| 2007-03-02 | 12.04.07 |  | 10.04.07 |  |  |  |  | 26.2.2007 | 12.04.07 |  | 04.04.07